## All_Fluor
Item No. | Instrument Tag | Instrument_Type | P__ID_Drawing | Line_Number__Name_ | Provided By | Remarks | Check | Discrepancy Remarks
1 | LP1YCVV0610NA | CVV - Conservation Vent Valve | LP1Y-DI-00000061 | LP1Y 2" SS N2 (315) E 061001 | Fluor | In-line | Included
2 | LP1YCVV0610NB | CVV - Conservation Vent Valve | LP1Y-DI-00000061 | LP1Y 2" SS N2 (315) E 061005 | Fluor | In-line | Included
3 | LP1YFV0610VA | FV - On/Off Valve, Ball, Non-Hygienic | LP1Y-DI-00000061 | LP1Y 3" DUP WV (344) (108) 064001 | Fluor | In-line | Included
4 | LP1YFV0610VB | FV - On/Off Valve, Ball, Non-Hygienic | LP1Y-DI-00000061 | LP1Y 3" DUP WV (344) (108) 065001 | Fluor | In-line | Included
5 | LP1YFV0610WPA | FV - On/Off Valve, Ball, Non-Hygienic | LP1Y-DI-00000061 | LP1Y 6" DUP PWP (344) (108) 014007 | Fluor | In-line | Included
6 | LP1YFV0610WPB | FV - On/Off Valve, Ball, Non-Hygienic | LP1Y-DI-00000061 | LP1Y 6" DUP PWP (344) (108) 061025 | Fluor | In-line | Included
7 | LP1YPI0610NA | PI - Pressure, Gauge,Local,Direct, N-Hyg,Seal | LP1Y-DI-00000061 | LP1Y 2" SS N2 (315) E 061001 | Fluor |  | Included
8 | LP1YPI0610NB | PI - Pressure, Gauge,Local,Direct, N-Hyg,Seal | LP1Y-DI-00000061 | LP1Y 2" SS N2 (315) E 061005 | Fluor |  | Included
9 | LP1YPIRV0610EA | PRV - Regulator Valve, Non-Hygienic | LP1Y-DI-00000061 | LP1Y 2" SS WPC (36) (108) 061027 | Fluor | In-line | Included
10 | LP1YPIRV0610EB | PRV - Regulator Valve, Non-Hygienic | LP1Y-DI-00000061 | LP1Y 2" SS WPC (36) (108) 061028 | Fluor | In-line | Included
11 | LP1YPRV0610NA | PRV - Regulator Valve, Non-Hygienic | LP1Y-DI-00000061 | LP1Y 2" SS N2(100) (315) E 061029 | Fluor | In-line | Included
12 | LP1YPRV0610NB | PRV - Regulator Valve, Non-Hygienic | LP1Y-DI-00000061 | LP1Y 2" SS N2(100) (315) E 061030 | Fluor | In-line | Included
13 | LP1YPSV0610NA | PSV - Pressure, Safety Valve, Non-Hygienic | LP1Y-DI-00000061 | LP1Y 2" SS N2 (315) E 061001 | Fluor | In-line | Included
14 | LP1YPSV0610NB | PSV - Pressure, Safety Valve, Non-Hygienic | LP1Y-DI-00000061 | LP1Y 2" SS N2 (315) E 061005 | Fluor | In-line | Included
15 | LP1YPSV0610WP | PSV - Pressure, Safety Valve, Non-Hygienic | LP1Y-DI-00000061 | LP1Y 2" DUP PWP (344) (108) 014007 | Fluor | In-line | Included
16 | LP1YFO0621A | FO - Flow, Orifice, Restriction, Non-Hygienic | LP1Y-DI-00000062 | LP1Y 3" SS DMSO (315) P (108) 062102 | Fluor | In-line | Not Included in Updated Instrument Tag List
17 | LP1YFO0621N | FO - Flow, Orifice, Restriction, Non-Hygienic | LP1Y-DI-00000062 | LP1Y 2" SS N2 (315) E 061035 | Fluor | In-line | Not Included in Updated Instrument Tag List
18 | LP1YFSL0621A | FSL - Flow, Switch, Low | LP1Y-DI-00000062 | LP1Y 3" SS DMSO (315) P (108) 062102 | Fluor | On-line (Insertion Type) | Not Included in Updated Instrument Tag List
19 | LP1YPI0620U | PI - Pressure,Gauge,Local,Direct,N-Hyg,Syphon | LP1Y-DI-00000062 | LP1Y 2" CS S(130) (2) (103) 061040 | Fluor |  | Not Included in Updated Instrument Tag List
20 | LP1YPI0621A | PI - Pressure, Gauge,Local,Direct, N-Hyg,Seal | LP1Y-DI-00000062 | LP1Y 3" SS DMSO (315) P (108) 062102 | Fluor |  | Not Included in Updated Instrument Tag List
21 | LP1YPI0621N | PI - Pressure, Gauge,Local,Direct, N-Hyg,Seal | LP1Y-DI-00000062 | LP1Y 2" SS N2 (315) E 061035 | Fluor |  | Included
22 | LP1YPSV0621A | PSV - Pressure, Safety Valve, Non-Hygienic | LP1Y-DI-00000062 | LP1Y 2" SS DMSO (315) P (108) 062102 | Fluor | In-line | Not Included in Updated Instrument Tag List
23 | LP1YFO0631A | FO - Flow, Orifice, Restriction, Non-Hygienic | LP1Y-DI-00000063 | LP1Y 3" SS MTBE (315) P 063102 | Fluor | In-line | Included
24 | LP1YFSL0631A | FSL - Flow, Switch, Low | LP1Y-DI-00000063 | LP1Y 3" SS MTBE (315) P 063102 | Fluor | On-line (Insertion Type) | Included
25 | LP1YPI0630U | PI - Pressure,Gauge,Local,Direct,N-Hyg,Syphon | LP1Y-DI-00000063 | LP1Y 2" CS S(130) (2) (103) 061022 | Fluor |  | Not Included in Updated Instrument Tag List
26 | LP1YPI0631A | PI - Pressure, Gauge,Local,Direct, N-Hyg,Seal | LP1Y-DI-00000063 | LP1Y 3" SS MTBE (315) P 063102 | Fluor |  | Included
27 | LP1YPI0631N | PI - Pressure, Gauge,Local,Direct, N-Hyg,Seal | LP1Y-DI-00000063 | LP1Y 2" SS N2 (315) E 061006 | Fluor |  | Included
28 | LP1YPSV0631A | PSV - Pressure, Safety Valve, Non-Hygienic | LP1Y-DI-00000063 | LP1Y 2" SS MTBE (315) P 063102 | Fluor | In-line | Included
29 | LP1YFO0640WP | FO - Flow, Orifice, Restriction, Non-Hygienic | LP1Y-DI-00000064 | LP1Y 6" DUP PWP (344) (108) 014007 | Fluor | In-line | Included
30 | LP1YFO0641A | FO - Flow, Orifice, Restriction, Non-Hygienic | LP1Y-DI-00000064 | LP1Y 3" SS ACN (315) P 064102 | Fluor | In-line | Not Included in Updated Instrument Tag List
31 | LP1YFSL0641A | FSL - Flow, Switch, Low | LP1Y-DI-00000064 | LP1Y 3" SS ACN (315) P 064102 | Fluor | On-line (Insertion Type) | Not Included in Updated Instrument Tag List
32 | LP1YPI0640U | PI - Pressure,Gauge,Local,Direct,N-Hyg,Syphon | LP1Y-DI-00000064 | LP1Y 2" CS S(130) (2) (103) 061023 | Fluor |  | Not Included in Updated Instrument Tag List
33 | LP1YPI0641A | PI - Pressure, Gauge,Local,Direct, N-Hyg,Seal | LP1Y-DI-00000064 | LP1Y 3" SS ACN (315) P 064102 | Fluor |  | Not Included in Updated Instrument Tag List
34 | LP1YPI0641N | PI - Pressure, Gauge,Local,Direct, N-Hyg,Seal | LP1Y-DI-00000064 | LP1Y 2" SS N2 (315) E 061007 | Fluor |  | Included
35 | LP1YPSV0641A | PSV - Pressure, Safety Valve, Non-Hygienic | LP1Y-DI-00000064 | LP1Y 2" SS ACN (315) P 064102 | Fluor | In-line | Not Included in Updated Instrument Tag List
36 | LP1YFO0650WP | FO - Flow, Orifice, Restriction, Non-Hygienic | LP1Y-DI-00000065 | LP1Y 6" DUP PWP (344) (108) 061025 | Fluor | In-line | Included
37 | LP1YFO0651A | FO - Flow, Orifice, Restriction, Non-Hygienic | LP1Y-DI-00000065 | LP1Y 3" SS DMF (315) P 065102 | Fluor | In-line | Not Included in Updated Instrument Tag List
38 | LP1YFSL0651A | FSL - Flow, Switch, Low | LP1Y-DI-00000065 | LP1Y 3" SS DMF (315) P 065102 | Fluor | On-line (Insertion Type) | Not Included in Updated Instrument Tag List
39 | LP1YPI0650U | PI - Pressure,Gauge,Local,Direct,N-Hyg,Syphon | LP1Y-DI-00000065 | LP1Y 2" CS S(130) (2) (103) 061024 | Fluor |  | Not Included in Updated Instrument Tag List
40 | LP1YPI0651A | PI - Pressure, Gauge,Local,Direct, N-Hyg,Seal | LP1Y-DI-00000065 | LP1Y 3" SS DMF (315) P 065102 | Fluor |  | Not Included in Updated Instrument Tag List
41 | LP1YPI0651N | PI - Pressure, Gauge,Local,Direct, N-Hyg,Seal | LP1Y-DI-00000065 | LP1Y 2" SS N2 (315) E 061008 | Fluor |  | Included
42 | LP1YPSV0651A | PSV - Pressure, Safety Valve, Non-Hygienic | LP1Y-DI-00000065 | LP1Y 2" SS DMF (315) P 065102 | Fluor | In-line | Not Included in Updated Instrument Tag List
43 | LP1YHSAE | Process Shutdown Pushbutton Switch | LP1Y-DI-00000001 | --- | Contractor |  | Not Included in Updated Instrument Tag List
44 | LP1YHSAF | Process Shutdown Pushbutton Switch | LP1Y-DI-00000001 | --- | Contractor |  | Not Included in Updated Instrument Tag List
45 | LP1YXS0620AA | Rail Car Station Grounding Status (Grounding Panel signal to DCS) | LP1Y-DI-00000062 | --- | Fluor | TBC | Not Included in Updated Instrument Tag List
46 | LP1YXS0630AA | Rail Car Station Grounding Status (Grounding Panel signal to DCS) | LP1Y-DI-00000063 | --- | Fluor | TBC | Not Included in Updated Instrument Tag List
47 | LP1YXS0640AA | Rail Car Station Grounding Status (Grounding Panel signal to DCS) | LP1Y-DI-00000064 | --- | Fluor | TBC | Not Included in Updated Instrument Tag List
48 | LP1YXS0650AA | Rail Car Station Grounding Status (Grounding Panel signal to DCS) | LP1Y-DI-00000065 | --- | Fluor | TBC | Not Included in Updated Instrument Tag List
49 | LP1YFSL0620V | FSL - Flow, Switch, Low | LP1Y-DI-00000062 | LP1Y 3" SS PVP (315) P (108) 013010 | Fluor | On-line (Insertion Type) | Not Included in Updated Instrument Tag List
50 | LP1YPI0620V | PI - Pressure, Gauge,Local,Direct, N-Hyg,Seal | LP1Y-DI-00000062 | LP1Y 3" SS PVP (315) P (108) 013010 | Fluor |  | Not Included in Updated Instrument Tag List
51 | LP1YPIT0620V | PIT - Press, Ind Trans, Direct, N-Hyg, Seal | LP1Y-DI-00000062 | LP1Y 3" SS PVP (315) P (108) 013010 | Fluor |  | Not Included in Updated Instrument Tag List
52 | LP1YFSL0630V | FSL - Flow, Switch, Low | LP1Y-DI-00000063 | LP1Y 3" SS PVP (315) P 013022 | Fluor | On-line (Insertion Type) | Included
53 | LP1YPI0630V | PI - Pressure, Gauge,Local,Direct, N-Hyg,Seal | LP1Y-DI-00000063 | LP1Y 3" SS PVP (315) P 013022 | Fluor |  | Included
54 | LP1YPIT0630V | PIT - Press, Ind Trans, Direct, N-Hyg, Seal | LP1Y-DI-00000063 | LP1Y 3" SS PVP (315) P 013022 | Fluor |  | Included
55 | LP1YFSL0640V | FSL - Flow, Switch, Low | LP1Y-DI-00000064 | LP1Y 3" DUP WV (344) (108) 064001 | Fluor | On-line (Insertion Type) | Included
56 | LP1YPI0640V | PI - Pressure, Gauge,Local,Direct, N-Hyg,Seal | LP1Y-DI-00000064 | LP1Y 3" DUP WV (344) (108) 064001 | Fluor |  | Included
57 | LP1YPIT0640V | PIT - Press, Ind Trans, Direct, N-Hyg, Seal | LP1Y-DI-00000064 | LP1Y 3" DUP WV (344) (108) 064001 | Fluor |  | Included
58 | LP1YFSL0641V | FSL - Flow, Switch, Low | LP1Y-DI-00000064 | LP1Y 3" SS PVP (315) P 013018 | Fluor | On-line (Insertion Type) | Not Included in Updated Instrument Tag List
59 | LP1YPI0641V | PI - Pressure, Gauge,Local,Direct, N-Hyg,Seal | LP1Y-DI-00000064 | LP1Y 3" SS PVP (315) P 013018 | Fluor |  | Not Included in Updated Instrument Tag List
60 | LP1YPIT0641V | PIT - Press, Ind Trans, Direct, N-Hyg, Seal | LP1Y-DI-00000064 | LP1Y 3" SS PVP (315) P 013018 | Fluor |  | Not Included in Updated Instrument Tag List
61 | LP1YFSL0650V | FSL - Flow, Switch, Low | LP1Y-DI-00000065 | LP1Y 3" DUP WV (344) (108) 065001 | Fluor | On-line (Insertion Type) | Included
62 | LP1YPI0650V | PI - Pressure, Gauge,Local,Direct, N-Hyg,Seal | LP1Y-DI-00000065 | LP1Y 3" DUP WV (344) (108) 065001 | Fluor |  | Included
63 | LP1YPIT0650V | PIT - Press, Ind Trans, Direct, N-Hyg, Seal | LP1Y-DI-00000065 | LP1Y 3" DUP WV (344) (108) 065001 | Fluor |  | Included
64 | LP1YFSL0651V | FSL - Flow, Switch, Low | LP1Y-DI-00000065 | LP1Y 3" SS PVP (315) P 013004 | Fluor | On-line (Insertion Type) | Not Included in Updated Instrument Tag List
65 | LP1YPI0651V | PI - Pressure, Gauge,Local,Direct, N-Hyg,Seal | LP1Y-DI-00000065 | LP1Y 3" SS PVP (315) P 013004 | Fluor |  | Not Included in Updated Instrument Tag List
66 | LP1YPIT0651V | PIT - Press, Ind Trans, Direct, N-Hyg, Seal | LP1Y-DI-00000065 | LP1Y 3" SS PVP (315) P 013004 | Fluor |  | Not Included in Updated Instrument Tag List
67 | LP1YAE0610W | AE - Analyzer, Element, LEL | LP1Y-DI-00000061 | --- | Fluor |  | Not Included in Updated Instrument Tag List
68 | LP1YAIT0610W | AIT - Analyzer, Ind Trans, LEL | LP1Y-DI-00000061 | --- | Fluor |  | Not Included in Updated Instrument Tag List
69 | LP1YPIT0610WP | PIT - Press, Ind Trans, Direct, N-Hyg, Seal | LP1Y-DI-00000061 | LP1Y 2" DUP RV (344) (108) 061026 | Fluor |  | Included
70 | LP1YPSA0610WP | PSA - Pressure, Safety Alarm | LP1Y-DI-00000061 | LP1Y 2" DUP RV (344) (108) 061026 | Fluor |  | Included
71 | LP1YPSE0610WP | PSE - Pressure, Rupture Disc, Non-Hygienic | LP1Y-DI-00000061 | LP1Y 2" DUP RV (344) (108) 061026 | Fluor | In-line | Included
72 | LP1YPIT0631A | PIT - Press, Ind Trans, Direct, N-Hyg, Seal | LP1Y-DI-00000063 | LP1Y 2" SS MTBE (315) P 063102 | Fluor |  | Included
73 | LP1YPSA0631A | PSA - Pressure, Safety Alarm | LP1Y-DI-00000063 | LP1Y 2" SS MTBE (315) P 063102 | Fluor |  | Included
74 | LP1YPSE0631A | PSE - Pressure, Rupture Disc, Non-Hygienic | LP1Y-DI-00000063 | LP1Y 2" SS MTBE (315) P 063102 | Fluor | In-line | Included
75 | LP1YPIT0641A | PIT - Press, Ind Trans, Direct, N-Hyg, Seal | LP1Y-DI-00000064 | LP1Y 2" SS ACN (315) P 064102 | Fluor |  | Not Included in Updated Instrument Tag List
76 | LP1YPSA0641A | PSA - Pressure, Safety Alarm | LP1Y-DI-00000064 | LP1Y 2" SS ACN (315) P 064102 | Fluor |  | Not Included in Updated Instrument Tag List
77 | LP1YPSE0641A | PSE - Pressure, Rupture Disc, Non-Hygienic | LP1Y-DI-00000064 | LP1Y 2" SS ACN (315) P 064102 | Fluor | In-line | Not Included in Updated Instrument Tag List
78 | LP1YPIT0651A | PIT - Press, Ind Trans, Direct, N-Hyg, Seal | LP1Y-DI-00000065 | LP1Y 2" SS DMF (315) P 065102 | Fluor |  | Not Included in Updated Instrument Tag List
79 | LP1YPSA0651A | PSA - Pressure, Safety Alarm | LP1Y-DI-00000065 | LP1Y 2" SS DMF (315) P 065102 | Fluor |  | Not Included in Updated Instrument Tag List
80 | LP1YPSE0651A | PSE - Pressure, Rupture Disc, Non-Hygienic | LP1Y-DI-00000065 | LP1Y 2" SS DMF (315) P 065102 | Fluor | In-line | Not Included in Updated Instrument Tag List